## Cost Estimate HVAC, Ltg, AMR
COST |  | CUSTOMER: | CONTACT:
ESTIMATE |  | Store Name | Mr. Contact Name
|  | Address | Company Name
DATE: |  | State | Address
2008-01-30 |  |  | City, State Zip
|  | Contractor Multiplier Used | 0.5
LOCATION: |  | Convenient Store | TEL: | (555) 555-5555
|  | 1 Store | FAX: | (555) 555-5555
QUOTE: |  | 2 HVAC units; 1 lighting controls; 0 Fan Controls; One (1) AMR; system installation, 1 Cellular Gateway..
| Model |  |  | Unit
Item | Number | Description | Quantity | Price | Total |  | 0.5
1 | 68100-100 | ADRES HVAC Control Board | 2 | 327.5 | 655 | 655 | 327.5
2 | 66100-100 | ADRES Comm Board with NEMA Case | 2 | 269 | 538 | 538 | 269
3 | 43021-200 | Room Temperature Sensor (W/O LCD) | 2 | 42.5 | 85 | 85 | 42.5
4 | 43103-100 | Sensors, Supply / Return Temperature | 4 | 23 | 92 | 46 | 23
5 | 43104-100 | Sensors, Roof Temperatrue | 2 | 22 | 44 | 44 | 22
6 | 43031-524 | ADRES Lighting Control Board | 1 | 327.5 | 327.5 | 655 | 327.5
7 | 43057-212 | ADRES Comm Board with NEMA Case | 1 | 271 | 271 | 542 | 271
Optional Electric Submeter
8 | 46100-400 | Single Phase Submeter (400 Amp 2 CT) | 0 | 566 | 0 | 1132 | 566
9 | 46300-400 | Three Phase Submeter (400 Amp 3 CT) | 1 | 610 | 610 | 1220 | 610
10 | 64100-SP | Modem, Plug-In Cellular | 1 | 212.5 | 212.5 | 425 | 212.5
11 | Epsoft | EnergyPro PC Windows XX Software for monitoring and control (price per building). Can be used on portable PC for local and remote monitoring. | 1 | 0 | 0 | 0 | 0 |  | 0
|  | Component Subtotal: |  |  | 2835
|  | Installation / Setup: | [5 empty] | 2835
12 | Labor Hours | 4 per HVAC | 8 |  |  |  |  | 610
13 | Labor Hours | 8 per Lighting Control | 8 |  |  |  |  | 2225
14 | Labor Hours | 2 per Meter | 0 |  |  |  |  | 3
15 | Labor Hours | Setup: 0.5 / Unit | 1.5 |  |  |  |  | 741.6667
|  |  | 17.5 | 105 | 1837.5
|  | Total Cost: |  |  | 4672.5
|  | Contractor Markup: |  |  | 1963.5
|  | Total Quote: |  |  | 6636
Notes:
1 | Lighting Controls assume that all high voltage contactors are present and only low voltage controls are being replaced.
2 | If electric meter is equipped with a KYZ pulse board, then no Watt-hour Transducer and Current Transformer needed

## Quote HVAC, Ltg, AMR
PROJECT |  | CUSTOMER: | CONTACT:
QUOTE |  | Store Name | Mr. Contact Name
|  | Address | Company Name
DATE: |  | State | Address
2008-01-30 |  |  | City, State Zip
LOCATION: |  | Convenient Store | TEL: | (555) 555-5555
|  | 1 Store | FAX:
QUOTE: |  | 2 HVAC units; 1 lighting controls; 0 Fan Controls; One (1) AMR; system installation, 1 Cellular Gateway..
| Model |  |  | Unit
Item | Number | Description | Quantity | Price | Total
1 | 68100-100 | ADRES HVAC Control Board | 2 | 655 | 1310
2 | 66100-100 | ADRES Comm Board with NEMA Case | 2 | 538 | 1076
3 | 43021-200 | Room Temperature Sensor (W/O LCD) | 2 | 85 | 170
4 | 43103-100 | Sensors, Supply / Return Temperature | 4 | 46 | 184
5 | 43104-100 | Sensors, Roof Temperature | 2 | 44 | 88
6 | 68100-400 | ADRES Lighting Control / Monitor Card | 1 | 655 | 655
7 | 66100-100 | ADRES Comm Board with NEMA Case | 1 | 542 | 542
Optional Electric Submeter
8 | 62100-100 | Single Phase Submeter (400 Amp 2 CT) | 0 | 1132 | 0
9 | 62100-300 | Three Phase Submeter (400 Amp 3 CT) | 1 | 1220 | 1220
10 | 64100-SP | Modem, Plug-In Cellular | 1 | 425 | 425
11 | Epsoft | EnergyPro PC Windows XX Software for monitoring and control (price per building). Can be used on portable PC for local and remote monitoring. | 1 | Included
|  | Component Subtotal: |  |  | 5670
|  | Less discount at: | 20% |  | -1134
Installation / Setup:
12 | Labor Hours | 4 per HVAC Unit | 8
13 | Labor Hours | 8 per Lighting Control Unit | 8
14 | Labor Hours | 2 per Meter | 2
15 | Labor Hours | Setup: 0.5 / Unit | 2
|  |  | 20 | 105 | 2100
|  | Total: |  |  | 6636
Notes:
1 | Llighting controls assume that all high voltage contactors are present and only low voltage controls are being replaced.
2 | EnergyPro PC Windows XX Software for local and remote monitoring and control.
3 | Quotation good for 60 days.
4 | User’s Manuals (two copies) and On-Site Training included.